## Slide 1: G- Phantom analysis Software arrangement
29 June 2024

## Slide 2: Notes:
This file contain of arrangement of elements and example for each section
Colors in this file is just for clearance. The UI designer must select the colors and it will be approved by the employer.
The Formula of the Tables and graphs is delivered by the employer. Extraction of values from analyzed images done by employee.(The employer help for the extraction of values to be done correctly).

## Slide 3: Login Page
Login Page have two method of login
  Local login
  Confirmation with SMS
LOGO
Login Method
User Name/Phone Number
Password/Valid Code
Login

## Slide 4: Main Page/Image Viewer
In this page following are active:
  Open DICOM
  Analysis after selection
  Compare Sequences
  Settings
After Analysis:
  Other Icons must be active
There should not be Scrolled pages
Use Icon for Purple Circle
  With Tooltip for hovering
Date/Time ,Version
Axial View
Sagittal View
Coronal View
Browsing Tools
View summary of added sequences (Name, Date, Machine, Type,…)
(Sequences in the database for the current user also must be shown here)
Analysis button, View DICOM Tag button
Add Acquisition
Image Viewer
3D distortion Viewer
Distortion Table & Graph
Compare data
Generate Report
Settings

## Slide 5: 3D Distortion Viewer
In this Page, 3D Distortion was shown
  Data was delivers in backend
  Maybe some of view be unavailable
  3D view of image overlay on distortion Points
  Tools help for changing density of points
  Tools help for position of slices
  Color map of points (colors show value of distortion)
  Example of 3D view:
Date/Time ,Version
3D View of total Distortion
3D view Machine specific Distortion
3D View of Patient Specific Distortion
Browsing Tools
View summary of added sequences (Name, Date, Machine, Type,…)
(Sequences in the database for the current user also must be shown here)
Analysis button, View DICOM Tag button
Add Acquisition
Image Viewer
3D distortion Viewer
Distortion Table & Graph
Compare Data
Generate Report
Settings

## Slide 6: Table & Graph of Distortion
In this page, Table & Graphs of Distortion was shown :(Modes: patient, machine, total)
Date/Time ,Version
Graphs(Cumulative,Scatter,Histogram,)
dx, dy, dz, dr
Table of Statistics
Phantom Statistics
Mode and direction of Graph
View summary of added sequences (Name, Date, Machine, Type,…)
(Sequences in the database for the current user also must be shown here)
Analysis button, View DICOM Tag button
Add Acquisition
Image Viewer
3D distortion Viewer
Table & Graph of Distortion
Compare Data
Generate Report
Settings
 | Mean | STD | Max | Min | % above>T
dx |  |  |  |  | 
dy |  |  |  |  | 
dz |  |  |  |  | 
dr |  |  |  |  | 
Graph Type
Analysis button, View DICOM Tag button

## Slide 7: Compare Data
In this page, the results of analysis for previous analysis will be compared:
  Modes: patient, machine, total distortions
  Selected sequence from bottom box be compared
  If sequences was not analyzed, data is –
  If number of sequences was high, table scrolled
Date/Time ,Version
Mode and Direction of comparison(dx ,dy, dz, dr)
View summary of added sequences (Name, Date, Machine, Type,…)
(Sequences in the database for the current user also must be shown here)
Analysis button, View DICOM Tag button
Add Acquisition
Image Viewer
3D distortion Viewer
Table & Graph of Distortion
Compare Data
Generate Report
Settings
sequence | Mean | STD | Max | Min | %Above>T
Name1 |  |  |  |  | 
Name2 |  |  |  |  | 

## Slide 8: Generate report
This button generate report for selected sequences in PDF format and the panel shows the PDF.
Format of generated pdf:
Page 1: Logo, date, version of software
Page 2: Information of
  Machine, Site, Summary of Sequence
  Summary of Phantom statistics (in table & graph page)
For each available mode of distortion
  machine, patient, total:
  Tables & Graph (in table & graph page)
Date/Time ,Version
View Generated PDF
View summary of added sequences (Name, Date, Machine, Type,…)
(Sequences in the database for the current user also must be shown here)
Analysis button, View DICOM Tag button
Add Acquisition
Image Viewer
3D distortion Viewer
Table & Graph of Distortion
Compare Data
Generate Report
Settings

## Slide 9: Setting
Set Threshold for Fail acceptance (in table and summary)
  Numerical spinner
Histogram setting:
  Number of bins and bins value
Some setting for kernel of analysis
  (during of project will be defined)
If user is admin:
  Manage and add users
Date/Time ,Version
View summary of added sequences (Name, Date, Machine, Type,…)
(Sequences in the database for the current user also must be shown here)
Analysis button, View DICOM Tag button
Add Acquisition
Image Viewer
3D distortion Viewer
Table & Graph of Distortion
Compare Data
Generate Report
Settings