## Slide 1: Connection Between Back End and Python code
Green: Alireza
Blue: Mojtaba
Red: Database
Black: Mehdi

## Slide 2: Pages
3D Visual
One scan analysis
One Scan analysis detail(Table Graph)
Compare results of multiple scan (Compare Data)
Generate Report
Setting
Users
Upload
Logout
If the page scrolling can not be removed, the footer can be hide with button.
The object must be have adaptable size for different resolution of screen or screen size
Add Footer Table

## Slide 3: Footer
Select Scan
% of process state
Image Folder Name
Modality
Orientation
Series Description
Series Date
Sequence name
Bandwidth
Field Strength
Gradient Strength (mT/m)
Encoding
Manufacture
Model
Engine version
Number of Slices
Series UID
Station Name
Add Footer Table

## Slide 4: Load Dialog
دکمه OK در پایین صفحه امکان کلیک کردن را ندارد و با Scroll کردن dialog بارگذاری بسته میشود.

## Slide 5: Load Dialog
Front Request:
  After Loading Image
  send to Python -> id
Python Output:
  Python find Location from id in Database
  Sorting & Generate Folder. Write End of Work and location with Id in Database
  Extract Dicom Information for Footer table and image size in Database

## Slide 6: Analysis
Front Request:
  send to Python -> id
  Python find Location from id in Database
Python Output:
  Analysis Progress percent in Database
  Analysis Output: Write for Id:
    Distortion for all points (dx, dy, dz, dr) in Database
    Summary of Statistic: dx, dy, dz, dr (Number of find points,mean, max & coordinate, min& coordinate , std, % above ???) in Database (??? Read from Database)
    Phantom Alignment In Database
    Find the Slices limits of (X,Y,Z) in Database
    Curves: Json in Database
      Cumulative
      Histogram (bin & width?)
      Mean distortion
      Scatter plot of distortion

## Slide 7: Curves Definition: Cumulative
Cumulative point with less that specific distortion
Can be saved as csv file
Number of Bins and Bin size define the curve zoom.(check if we have all points what happen for linear curve) otherwise must be request for each curve to generate by Python and write in Database

## Slide 8: Curves Definition: Histogram
Histogram of Number of Points with the specific distortion inside the specific bin of distortion
Can be saved as csv file
Number of Bins and Bin size define the curve zoom.(check if we have all points what happen for linear curve) otherwise must be request for each curve to generate by Python and write in Database

## Slide 9: Curves Definition: Mean distortion
In distance of z from isocenter, what is mean of distortion on x-y plan
Can be saved as csv file

## Slide 10: Curves Definition: Scatter distortion
Distortion for all points on the sphere with radius of r from center of Isocenter.
Can be saved as csv file

## Slide 11: Page: One Scan Analysis
Statistics Summary
 | Mean(mm) | STD(mm) | Max(mm) | % above ??
dx |  |  |  | 
dy |  |  |  | ???????
dz |  |  |  | ???????
dr |  |  |  | 
X curve
y curve
Z curve
abs curve
Curve Type selection
All Data for this Page can be find in Database

## Slide 12: Page: One Scan Analysis Detail (Table Graph)
All Data for this Page can be find in Database
All Data for this Page can be find in Database
  Max,min,std,find points, max coordinate,min coordinate
A Button for showing and Hiding, Top Table Expanding when it is hidden.
All Data for this Page can be find in Database
Front request:
  id,(ax, cor, sag), slice
Python: find Slice from database and write as Json in DataBase

## Slide 13: Page: Compare results of multiple scan (Compare Data)
All Data for this Page can be find in Database
  For all analyzed scans tou should show datas
  Phantom Alignment can be hide in this state
  Curve must be pushed up so that the user is not required scroll the page.
  Curves:
    Cumulative
    Histogram
    Scatter (bandwidth-mean distortion)
 | Mean(mm) | STD(mm) | Max(mm) | % above ??
Scan1 |  |  |  | 
Scan2 |  |  |  | 
dx
dy
dz
dr

## Slide 14: Curves Definition: bandwidth–mean distortion
Plot of Mean distortion of each series against its bandwidth
Can be saved as csv file

## Slide 15: Page: Generate report
Generate PDF File according this

## Slide 16: Page: Settings
Mojtaba